## Slide 2
A new dawn

## Slide 3
Solplanet APP

## Slide 4
At a Glance
App „tool“ for installers/end users
iOS and Android
Main functions
  Create PV plant
  Commissioning
    Grid code
    Export Power Limit
    Active/reactive power modes
    Shadow management
    AFCI
  PV plant sharing
  Data migration
  Modify parameters remotely

## Slide 5
What is Solplanet
A smart device application for:
  PV plant monitoring
  PV plant set-up & commmissioning

## Slide 6
Who is it for?
Installers
End users

## Slide 7
Monitoring

## Slide 8
Plant List
List of all PV plants under management regardless of status

## Slide 9
PV Plant Data
Grid connect inverter with NO energy meter
Current power production
Daily system energy
Daily savings
Daily generation graph
Day, month, year bar graph
Weather

## Slide 10
PV Plant Data
Grid connect inverter with energy meter
Self consumption %
Self sufficiency %
Current power production
Current load consumption
Current grid import/export
Daily system energy
  PV production (DC)
  System production (AC)
  Consumption
  Self-consumed
  Grid-supplied
  Grid feed-in
Daily savings
Daily generation graph
Day, month, year bar graph
Weather

## Slide 11
PV Plant Data
Hybrid inverter
All data as per grid connect with meter
Battery info
  SOC
  Charge
  Discharge

## Slide 12
Inverter Data
DC input string voltage/current/power
AC voltage/current/frequency/power
Temperature

## Slide 13
Features

## Slide 14
Data migration
This function is used for customers in the Aiswei application to upgrade to enterprise users of the Solpalnet application, and at the same time copy all the power station information under the customer account in the Aiswei application to the Solplanet application.
End users in the Aiswei app do not need to perform data migration and can log in directly with their Aiswei account.
Once you use the data migration feature, you will be upgraded to a business user
Select the "Data Migration" entry, and enter your Aiswei App account, password and your company name to complete the migration

## Slide 15
Consumption monitoring & export power control
Energy meter selection
Export power control setup
  Active power limitation
  Reactive power limitation

## Slide 16
Consumption monitoring & export power control
Energy meter selection
Export power control setup
  Active power limitation
  Reactive power limitation

## Slide 17
Inverter configuration
Grid code selection
Grid code parameter adjustments
Active power settings
Reactive power settings
  Fixed power factor
  Fixed Q
  Cosφ(P)
  Q(U)

## Slide 18
Inverter near field configuration
Grid code selection
Grid code parameter adjustments
Active power settings
Reactive power settings
  Fixed power factor
  Fixed Q
  Cosφ(P)
  Q(U)

## Slide 19
Inverter remote configuration
Almost all parameters of near field configuration can be configured remotely
What is remote configuration?
Unlike near-field configuration, parameters can be configured while the device is connected to the network, even if you are not next to the machine.

## Slide 20
Plant sharing
The plant can only be shared with end users
A plant can be shared with multiple end users, but it can be bound to only one business user.
The shared user can only view the plant and cannot configure the plant

## Slide 21
Bind a business user
Every business user has a unique ID (organization code)
If you want to bind a plant to a business user, please get the organization code first.

## Slide 23
Simple Steps

## Slide 24
Process
Create
Enter SN/Reg
Set-up
Grid code
Success!
Plant Created
Internet connection established
Enter plant details
Scan QR code
Export power
Power modes
WiFi

## Slide 25
Set-up & commissioning

## Slide 26
PV plant creation
Current power production
Current load consumption
Current grid import/export
Daily system energy
Daily savings
Daily generation graph
Day, month, year bar graph
Weather

## Slide 27
Inverter configuration
Grid code selection
Grid code parameter adjustments
Active power settings
Reactive power settings
  Fixed power factor
  Fixed Q
  Cosφ(P)
  Q(U)

## Slide 28
Wi-Fi Set-up
Simple WiFi set-up
First time commissioning or post commissioning

## Slide 29
Update

## Slide 30
Update
Final release - imminent
The Future
Creating a Power Station - A Beginner's Guide
Power generation calibration
Account cancellation function

## Slide 31
Business & End user

## Slide 32
Business user
for installers
website: https://pro.aisweicloud.com/
with a unique ID (organization code)
can configure inverter remotely
with all options in inverter configuration in local mode
with organizational management
End user
for end user
website: https://www.aisweicloud.com/
without ID (organization code)
cannot configure inverter remotely
with options in inverter configuration in local mode:
a. Inverter details
b. Inverter update
c. Power on/off
without organizational management
Note: the plant can only be shared with end users, not business users.

## Slide 33
organizational management

## Slide 34
Main account
Regional account
OPS Installer
First level
Second level
Third level
The business account registered directly on APP is main account.
The business account added by main account in organizational management is regional account.
The business account added by Regional account in organizational management is OPS installer.
An organization can only have three levels at most.

## Slide 35
A superior account can create multiple subordinate accounts.
The superior account can view and manage plants of subordinate accounts.
The plants of the superior account can be assigned to the subordinate account to manage. But one plant can only be assigned to one subordinate account.