**Information om SoliTeks paneler på platta tak i landskapformat**

For the current frame that is used with standard modules we do not give warranty regarding the loads if modules are clamped in short sides.

Nevertheless, clamping on short sides can be considered as we can give warranty to particular project - we evaluate the local loads, mounting system which will be used, height of the roof and parapets and etc. In this way, we have given a several warranties for mounting standard modules in short edges - when project was assessed by us additionally and specific load was given that modules can withstand was given (up to 1200 Pa). ​A standard warranty for current frame (relatively week) when clamped in short edges is not given.

Thus for additional statement/warranty for particular project we need this following information:  
Location of the object;  
Local loads - wind (m/s) and snow (kN/m2) values;  
Information about the building - height of the roof;  
Information about parapet - height and width;